## Slide 1: Medication Administration
Prepared by:
Dr. Alaa Hamza
M.Sc.N: Ali Jassim
Clinical Part I

## Slide 3: The parenteral route
The parenteral route is defined as other than through the alimentary or respiratory tract; that is, by needle. The following are some of
the more common routes for parenteral administration:
• Subcutaneous (hypodermic)—into the subcutaneous tissue, just below the skin
• Intramuscular (IM)—into a muscle
• Intradermal (ID)—under the epidermis (into the dermis)
• Intravenous (IV)—into a vein.
Some of the less commonly used routes for parenteral administration are intra-arterial (into an artery), intracardiac (into the heart muscle), intraosseous (into a bone), intrathecal or intraspinal (into the spinal canal), intrapleural (into the pleural space), epidural (into the epidural space), and intra-articular (into a joint).
Sterile equipment and sterile drug solution are essential for all parenteral therapy.
The main advantage is fast absorption.

## Slide 5: Syringes Overview
Parts:
  Tip: Connects with the needle.
  Barrel: Outer part with scales for measurement.
  Plunger: Inside the barrel for drawing or injecting fluid.
Handling: Avoid contamination by not touching the tip, inside barrel, plunger shaft, or needle.
Types & Sizes:
  Syringes range from 1 mL to 60 mL.
  Common sizes for injections: 1–5 mL for subcutaneous or intramuscular.
  Larger syringes (10–50 mL) used for IV solutions or wound irrigation.
  Insulin syringes have a 100-unit scale and should only be used for insulin.

## Slide 7: Insulin Syringes and Pens
Insulin Syringes:
  Calibrated for U-100 insulin and available in different doses (e.g., 30 or 50 units).
  Typically have a nonremovable needle.
Insulin Pens:
  Devices that hold a prefilled insulin cartridge, offering easy self-administration.
  Available as disposable (single-use) or reusable (cartridge refillable).
  Some pens allow for half-unit doses.

## Slide 8: Needles Overview
Parts of a Needle:
  Hub: Attaches to the syringe.
  Shaft: The needle’s length.
  Bevel: Slanted tip for smooth insertion.
Characteristics:
  Bevel: Longer bevels cause less discomfort, used for subcutaneous/intramuscular. Short bevels are for intradermal/IV injections.
  Length: Commonly ranges from 1/2 to 2 inches, selected based on muscle, weight, and injection type.
  Gauge: Varies from #18 to #30, where larger gauge numbers mean smaller needle diameters. Larger gauges are needed for thicker medications.

## Slide 10: Preventing Needlestick Injuries
Risk:
  Needlestick injuries pose a significant risk for infections, including hepatitis B, HIV, and other pathogens.
OSHA Standards:
  The Occupational Safety and Health Administration (OSHA) has established guidelines to prevent needlestick injuries.
  Specific steps must be followed if an accidental needlestick occurs, as outlined by OSHA.
Safety Syringes:
  Designed to protect healthcare workers from needlestick injuries.
  Types of Safety Devices:
    Passive Safety Device: No action required by the nurse; e.g., needle retracts automatically after injection.
    Active Safety Device: Requires manual activation by the nurse, such as retracting the needle or covering it with a plastic sheath after use.

## Slide 12: Ampules and Vials Overview
Ampules:
Glass containers, typically holding a single dose of medication.
Size ranges from 1 to 10 mL.
Constricted neck for easy opening, often with colored marks.
Must be broken at the neck to access the medication.
Use of plastic ampule openers is recommended to prevent injury.
A filter needle or straw is used to aspirate the medication to prevent glass particles.

## Slide 13: Ampules and Vials Overview
Vials:
Small glass bottles with a rubber cap, available in
single-use or multiple-dose forms.
Needles must pierce the rubber cap to access medication.
Air must be injected into the vial before withdrawing
the medication to avoid a vacuum.
Single-use vials are for one dose, while multidose vials contain multiple doses (e.g., insulin).
Single-dose vials are preferred to reduce infection risks, especially when multiple patients are involved.
Proper sterilization is required when using multidose vials to avoid contamination.

## Slide 14: Reconstitution Procedure
Reconstitution of Powdered Drugs:
Some drugs come in powdered form and require a diluent (e.g., sterile water or saline) for injection.
The process is called reconstitution and should follow manufacturer’s instructions for solvent amounts.
Example: Adding 1.5 mL of sterile water to powdered drug to make 2 mL of solution.
Expiration dates should be noted on reconstituted vials, as some have a limited use period.