## Slide 1
Practical Medical Chemistry
Lecture No. 1
College of Medicine
Glassware and instruments in Lab
Prof. Dr. Talat T.K.
Dr. Widad Hamza Shekiar
First stage

## Slide 2
General Laboratory supplies
Laboratory
ware Most of laboratory ware used in medical chemistry laboratory is made of either glass or plastic.

## Slide 3
•Available in different lengths and widths to serve a varying number of needs.
•Usually used for liquid samples, during chemical procedures and experiments
•Often, formed of Pyrex to allow heating of samples.
Test tubes
Centrifuge tubes
Sample tubes
Types of tubes
Test tubes

## Slide 4
•Made from wood, iron or plastic.
•Available in different sizes
Test tube Racks

## Slide 5
•A simple container for liquids.
•Very commonly used in laboratories for boiling and preparing solution.
•Generally cylindrical in shape, with a flat bottom.
•Available in a wide range of sizes, from 1 mL up to several liters
Beakers

## Slide 6
•A flask has a wide "body" and narrow neck with an opening at the top
•They have different sizes
•They are used for:
-making, collecting and measuring solutions
-chemical reactions, mixing, heating, cooling or dissolving,
•Several types having different functions;
•The most common types are:
Flasks

## Slide 13
These Spatulas are a stainless steel utensil that used for scraping, transferring or applying powders and paste like chemicals or treatments. Featuring a spoons on the one end and a shovel on the other
Spatulas